## Honduras Student Trip Jan. 2011
Doser Parts for Team Honduras Trip 2011
For both Alauca (12 L/s linear) and Agalteca 3-scale retrofit (nonlinear)
Item | Quantity | McMaster Part #
Constant Head Tank | 2 | 42955T2
CHT L bracket for bottom support | 2 | 15275A66
Hose clamp for CHT support | 2 | 5362K34
Lever Arm Bar | 2 | 6023K153
Slider Material | N/A | 9001K61 | Note from Matt: I think this might be a mistake… I think the one we had might be 9001K32
Stopper screw | 2 | 92210A010
Freefall tube mounting screw | 2 | 92210A010 | What hardware do we need for the pipe to rotate freely on it?
Stopper knob | 2 | 91165A880
Freefall PVC (1/2") | 1 section | 49035K83 | Already have enough of this in the lab somewhere? Clear isn't that expensive and allows visibility.
Freefall PVC cross tube (3/4") | 1 section | 48925K92
3/8" flexible tubing: upstream of CHT | 30ft? | 5233K65 | Might need quite a bit depending on arrangement of stock tank/flow measurement/CHT. Also needed for Agalteca orifice tubes.
Lever arm mount L bracket | 2 | 1556A54
Threaded rods for lever arm mount | 2 | 97042A352
Shaft collars for lever arm mount | 4 | 6432K14
Wye fitting for 3/8" tubing | 2 | 53415K241
Carraige bolt | 2 | 93548A121 | For securing CHT support to plywood
1/2" NPT to 3/8" barbed adapter | 4 | 5116K88 | For connections between ball valves and the 3/8" flexible tubing that goes to the CHT
Ball valves | 4 | 4876K71
Nuts for lever arm shaft mount | 4 | 93827A225 | Will fit the threaded rod listed above. Paul may already have this.
1/2" threaded plug | 2 | 4596K73 | For eye bolt on top of the flow measurement column
1/2" Socket-weld/NPT adapter | 2 | 4596K854 | For the connection between the pipe coming from the stock tank to the ball valve.
1/2" PVC nipple | 2 | 4882K24 | For the connection between the flow measurement column and the ball valve
Koflo calibration column | 2 | http://www.novatech-usa.com/Products/Pump-Calibration-Columns/250-ML-CC
For Alauca
Item | Quantity | McMaster Part #
Through-wall barbed tube fitting | 1 | 5463K811 | Will 5/32" barbed fitting work for 1/8" tubing? We can't go up to 5/32" tubing (would be way too long) and there's no 1/8" barbed available.
Flexible flow control tube | 6ft? shortest avail. | 5233K52 | Is this flexible enough? Too flexible? Don't want stiffness of the tube to apply a force on the lever arm, but also don't want kinks or sharp bends. Bend radius and hardness scale seem like the relevant parameters.
Tool holder for flow control tube | 1 | 1171A68
Float valve | 1 | Kerrick M052 | Do we have the small float part? I assume they don't need a new one at Agalteca?
For Agalteca 3-scale retrofit
Item | Quantity | McMaster Part #
Orifice caps | 3 | 9171K241 | This is one we haven't ordered before. Same threads as the others, but from the autocad drawing it seems like it might have a flat end wall.
Tool holders: hang-ups + hold active ori. | 4 | 1171A69
Orifice-to-tubing adapters | 3 | 2974K132
Through-wall barbed tube fitting | 3 | 5463K851

## SpringSummer 2011
Spring/Summer 2011
Barbed fittings
Part | McMaster Part Number | Order Date | Notes
Drop tube barbed fittings | 5463K243 | early 2011 | for Tube ID of 1/8'' (these are the ones we brought to Honduras in January)
CHT barbed fittings | 5463K811 | early 2011 | for Tube ID of 5/32'' (these are the ones we brought to Honduras in January)
Drop tube barbed fittings | 5463K364 | 2011-04-25 | for Tube ID of 5/32''
Drop tube barbed fittings (incorrect) | 5116K86 | early June 2011 | ordered for Tube ID of 3/16'' but have incorrect NPT of 1/4''
Drop tube barbed fittings | 5116K82 | 2011-06-06 | for Tube ID of 3/16''
CHT barbed fittings | 5463K821 | 2011-06-06 | for Tube ID of 3/16''
Other new parts ordered
Part | McMaster Part Number | Order Date | Notes
Reducer | 6826K147 | 2011-04-25
Screw for Reducer | 92196A282 | 2011-05-02
Stainless Steel pipe for insertion into SDT | 6100K192 | 2011-06-07
1/8'' ID small diameter tubing | 5233K52 | 2011-02-10 | this is the SDT we've been using all semester and the same stuff we left in Honduras in January (manufacturer: St Urbaine performance plastics (800) 798-1554; 27-Jun-11 - talked to Jim Harvey (East Region - St Urbaine) - he said tolerance on ID is +- 0.005 in
Epoxy 907 Adhesive System (2-part adhesive) |  | borrowed from Cameron (6/21/11) | Manufacturer: Miller-Stephenson; used for steel drop tube fittings
slider material | 9001K32
potential "aluminum clevis" material | 9001K21
Float-attachment system items | McMaster Part Number
slider material | 9001K32 | have this
Aluminum U-channel | 9001K67
red knob for stopper screw |  | Paul has this
1 box of 1/2'' 10-32 screws | 92210A302 | for stopper and clevis screws
1 turnbuckle |  | Paul has this
Flow Controller items
mounting-to-wall pieces for lever arm |  | must be space for the slider along the lever arm
Lever arm bar | 6023K153 | 3' (we can buy only 1 ft of this if we want: 6023K151)
slider material | 9001K32 | have this
screws (we've been using 10-32 threads) |  | 1 for stopper, 1 to hang drop tube; have these in lab/shop
1 nut | 90545A111 | for use between the drop tube and the slider; we have these in lab
red knob for stopper screw |  | Paul has these
drop tube (1/2'' clear PVC) | 49035K83 | this is 8'… do we have some of this already?
3/16'' drop tube barbed fittings | 5116K82 | have these in lab; black ones of these are: 5463K355
small diameter tubing | 5233K52 | we have plenty in the lab
PVC tubing |  | to build trough along wall for small diameter tubing
3/16'' CHT barbed fittings | 5463K821 | have these in lab
constant head tank | 42955T2 | same one used in lab/same one we brought to Honduras in January; but do we use a jar for the FC CHT?
Tee items
drop tube (1/2'' clear PVC) | 49035K83
1/2'' tee | 9161K31
1/2'' cap | 9161K153 | need 2 per tee

## CDC cost info
CDC Cost Information
Last updated: 26 July 2011 | Note: Parts needed upstream of the constant head tank do not appear on this list
Insert number of CDC systems to build: | 1
Insert number of small diameter tubes per CDC system: | 1
Item | Quantity | McMaster Part # | Notes | Unit Cost (USD) | Total Cost (USD) | Total Cost to build # of CDCs specified above
Constant Head Tank | 1 | 42955T2 |  | 4.32 | 4.32 | 4.32
Float Valve | 1 | Kerick M052 | 1/2'' MIP, 0.093'' diameter orifice | 7.73 | 7.73 | 7.73
O-rings for CHT barbed fittings | 1
CHT barbed fittings for Tube ID of 3/16'' | 1 | 5463K821 | these come in packs of 10 | 11.59 | 11.59 | 1.159
PVC tubing |  |  | to build trough along wall for small diameter tubing
1/8'' ID clear flexible tubing |  | 5233K52 | order this by the foot | $0.12/ft (if under 100 ft)
add parts that are attached to bottom of drop tube
Drop tube barbed fittings for Tube ID of 3/16'' | 1 | 5116K82 | these come in packs of 10 | 3 | 3 | 0.3
1/2'' clear PVC tubing for drop tube | 1 | 49035K83 | come as an 8' piece of tubing; assume drop tubes in plants are roughly 1.5 ft in length | $12.53/8 feet | 12.53 | 2.3494
red knob for stopper screw | 2 |  | to use 1 for float attachment slider & 1 for drop tube slider; we get these from Paul Charles
A 10-32 thread nut | 1 | 90545A111 | for use between the drop tube and the slider | 2.48 | 2.48 | 2.48
1-1/2'' 10-32 thread screw for drop tube | 1 | 92185A994 | to connect the drop tube to the slider and for stopper screw for float attachment; come in packs of 10 | $5.90/pack of 10 screws | 5.9 | 0.59
3/8'' 10-32 thread screw for stopper | 1 | 92185A988 | for the stopper screw on the drop tube's slider (must be shorter so doesn't interfere w/drop tube); come in packs of 25 | $3.94/pack of 25 screws | 3.94 | 0.1576
Aluminum U-channel for slider | 1 | 9001K32 | to use for drop tube slider & float attachment slider; comes as an 8' piece | 18.75 | 18.75 | 0.19531
Lever arm | 1 | 6023K153 | 36'' piece | 14.87 | 14.87 | 14.87
Pieces to mount lever arm & trough to wall/side of tank
Aluminum U-channel for float attachment | 1 | 9001K67 | comes as an 8' piece | 38.49 | 38.49 | 0.40094
3/4'' 10-32 thread screws | 1 | 92185A991 | to attach U-channel to slider for the float attachment; come in packs of 25 | 5.22 | 5.22 | 0.2088
turnbuckle | 1 |  | to attach float's chain to the aluminum U-channel
add in counterweight parts
[5 empty] | 128.82 | 34.761
[5 empty] | ^ total cost to order all parts necessary (you will end up with many extra parts, as many of the parts are bought in large quantities) | ^ this is the total dollar value of the quantity of the parts that will be actually used to fabricate the given number of CDC systems

## Sheet2
2011-07-25
heavier duty of everything
heavier sliders
correct U-channel for float
more tees and caps
counter-weight block or 5x5x5 piece
Tee items
drop tube (1/2'' clear PVC) | 49035K83
1/2'' tee | 9161K31
1/2'' cap | 9161K153 | need 2 per tee
Barbed fittings
3/16'' drop tube barbed fittings | 5116K82
3/16'' CHT barbed fittigns | 5463K821
Heavy-duty slider
N/A on McMaster
Float attachment pieces (incl. correct U-channel)
slider material | 9001K32 | have this
Aluminum U-channel | 9001K67
red knob for stopper screw |  | Paul has this
1 box of 1/2'' 10-32 screws | 92210A302 | for stopper and clevis screws
1 turnbuckle |  | Paul has this
Heavy-duty lever arm
3/16'' thickness lever arm | 6023K163
1/4'' thickness lever arm | 6023K173