## Slide 1: Linear Chemical Dose Controller Fall 2012
David Buck, Andrea Castro, Rudra Koul

## Slide 2: Previous Designs

## Slide 3: Previous Designs

## Slide 4: Fall 2012 Design

## Slide 5: Fall 2012 Challenges
Chlorine resistance
Build-full-scale prototype
Add calibration device
Label lever arm
Document calibration method
Test prototype

## Slide 6: Design Modifications: Chlorine Resistance
Polypropylene and nylon: not resistant

## Slide 7: Design Modifications: Counterweight

## Slide 8: Design Modifications: Fine tune calibration with the use of a turnbuckle

## Slide 9: Design Modifications: Cross-bracing of the lever arm assembly to prevent bending

## Slide 10: Design Modifications: Drop Tube Design
Major Constraints
  Light-weight
  Leak-free connections
  Chemical is visible
  Constant height from which the solution drops

## Slide 11: Design Modifications: Scale and Logo
Before Anodizing

## Slide 12: Design Modifications: Scale and Logo
After Anodizing

## Slide 13: Design Modifications: Scale and Logo
AguaClara Logo
Scale Engraving

## Slide 14: Methods: LCDC system laboratory setup
Design Parameters
Target plant flow rate: 44 L/s
Dosing tube length: 2.64 m (~104”)
Dosing tube inner diameter: 0.1875 cm (3/16”)
Number of dosing tubes: 3

## Slide 15: Methods: LCDC system laboratory setup

## Slide 16: Methods: System calibration at zero flow

## Slide 17: Methods: System calibration at maximum flow

## Slide 18: Results: Chemical flow vs. dose percent (scale)

## Slide 19: Results: Error- Scale offset on LCDC system

## Slide 20: Results: Percent error- chemical flow vs. dose percent (scale)

## Slide 21: Results: Chemical flow vs. LFOM height (Qplant)

## Slide 22: Results: Percent error- chemical flow vs. LFOM height (Qplant)

## Slide 23: Deliverables
Fabricated prototype with design modifications
Engraved logo and scale
Verified linearity
Refined calibration method

## Slide 24: Conclusions
Heavy drop tube assembly
Poor performance at low flow
Linear relationship observed between chemical flow rate and:
  Dose % (Scale)
  LFOM Height (Qplant)

## Slide 25: Future Work
Further calibration refinement
Use only chlorine-resistant materials, i.e. PVC (not nylon or polypropylene)
Single piece for cross bracing on the lever arm
Update design tool - AutoCAD
Lighten drop tube design

## Slide 26: Questions