## Slide 1: Background
What is sedimentation, and where does it occur in the water treatment process?

## Slide 2: Goals
To reduce plate spacing in order to reduce plate length.
To improve previous experimental apparatus.
To optimize sedimentation with reduced plate spacing.
a
b
L
Vup
Va
a
hc
h

## Slide 3
Current Research
Parameters
  Tube width
    12.5mm, 9.4mm, 4mm
  Flow rates (constant)
    Influent : 545 mL/min
    Through tube settlers: 257 mL/min
  Depth of floc blanket (constant)
Dependent Variable: Effluent Turbidity
  Goal: under 1 NTU
Experimental Setup
12 in
60°